## Certification
OMB Control Number: 1910-1400 (Expiration Date: September 30, 2024) | [9 empty] | Version 5.3 |  |  | 13
DOE F 220.74 | [10 empty] | Certifier | Submitter | 17
Computer Room Air Conditioners |  | Product Type: | Computer Room Air Conditioners |  |  |  |  | Status of This Certification Sheet | No Data |  | 0 | 0 | 20
5.3 | [12 empty] | 10
[8 empty] | Overall Status of Template | No Data |  | No Type | No Type | 20
|  |  | Click here for instructions for completing this form | [9 empty] | 20
10
Each Importer and U.S. Manufacturer is legally required to certify the compliance of the products it imports, produces, assembles or manufactures. This party is the "Certifier" on this form. This certification may be submitted by the Importer or U.S. manufacturer or by a Third Party Representative. This party is the "Submitter" on this form. | [12 empty] | 40
| Certifier - Party Legally Obligated to Certify Compliance |  |  |  |  | Submitter - Party Submitting This Report | [6 empty] | 18
| The party responsible for certification is (select one only): |  |  |  |  | The party submitting this report is (select one only): | [6 empty] | 18
|  |  | Please enter required data | [5 empty] | Please enter required data |  | 0 |  | 28
[11 empty] | 0 |  | 28
13
| Certifier Contact Information |  |  |  |  | Third Party Representative Contact Information, if Applicable | [6 empty] | 13
13
Full Legal Name of Individual |  |  |  | Please enter required data | Full Legal Name of Individual |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Full Legal Name of Company |  |  |  | Please enter required data | Full Legal Name of Company |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Complete Company Mailing Address |  |  |  | Please enter required data | Complete Company Mailing Address |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Phone Number |  |  |  | Please enter required data | Phone Number |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Email Address |  |  |  | Please enter required data | Email Address |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
13
13
| Compliance Statement | [11 empty] | 17
| Select one of the options for 'Submitter - Party Submitting This Report' above | [9 empty] | I certify that: (1) This certification report is submitted in accordance with 10 CFR Parts 429, 430, and 431 and the Energy Policy and Conservation Act, as amended. (2) The basic models listed in this certification report comply with the applicable conservation standard(s); (3) All required testing has been conducted in conformance with the applicable test requirements prescribed in parts 10 CFR Parts 429, 430 and 431, as appropriate, or in accordance with the terms of an applicable test procedure waiver; (4) All information reported in this certification report is true, accurate, and complete; and (5) I am aware of the penalties associated with violations of the Energy Policy and Conservation Act (Pub. L. 94-163), as amended by Pub. L. 95-619, Pub. L. 100-12, Pub. L. 100-357, and Pub. L. 102-486 (the Act), the regulations thereunder, and 18 U.S.C. 1001 which prohibits knowingly making false statements to the Federal Government. | I certify that: (1) This certification report is submitted in accordance with 10 CFR Parts 429, 430, and 431 and the Energy Policy and Conservation Act, as amended. (2) An authorization granting me the authority to submit this information on behalf of the Certifier is on file with the U.S. Department of Energy. (3) The basic models listed in this certification report comply with the applicable conservation standard(s); (4) All required testing has been conducted in conformance with the applicable test requirements prescribed in 10 CFR Parts 429, 430 and 431, as appropriate, or in accordance with the terms of an applicable test procedure waiver; (5) All information reported in this certification report is true, accurate, and complete; and (6) I am aware of the penalties associated with violations of the Energy Policy and Conservation Act (Pub. L. 94-163), as amended by Pub. L. 95-619, Pub. L. 100-12, Pub. L. 100-357, and Pub. L. 102-486 (the Act), the regulations thereunder, and 18 U.S.C. 1001 which prohibits knowingly making false statements to the Federal Government. | 115
6
| Submitter Signature (Type your Full Legal Name) |  |  | Please enter required data |  |  | Date (MM/DD/YYYY) |  | Please enter required data |  |  |  | 38
13
13
13
| OMB Control Number: 1910-1400 (Expiration Date: September 30, 2024) | [11 empty] | 13
13
| Paperwork Reduction Act Statement | [11 empty] | 13
| OMB Burden Disclosure Statement | [11 empty] | 13
13
| This data is being collected for manufacturers to certify compliance to DOE's energy conservation, water conservation, or design standards. The data you supply will be used by the Department to monitor compliance with the energy conservation, water conservation, and design standards and testing requirements for the consumer products and commercial and industrial equipment mandated by the Energy Policy and Conservation Act, as amended. Public reporting burden for this collection of information is estimated to average 35 hours per response, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden, to Office of the Chief Information Officer, Records Management Division, IM-23, Paperwork Reduction Project (1910-1400), U.S. Department of Energy, 1000 Independence Ave SW, Washington, DC, 20585-1290; and to the Office of Management and Budget (OMB), OIRA, Paperwork Reduction Project (1910-1400), Washington, DC 20503. Notwithstanding any other provision of the law, no person is required to respond to, nor shall any person be subject to a penalty for failure to comply with a collection of information subject to the requirements of the Paperwork Reduction Act unless that collection of information displays a currently valid OMB control number. Submission of this data is mandatory. | [11 empty] | 185
a U.S. Manufacturer
an Importer
the Certifier (do not complete the Third Party Representative Contact Information below)
a Third Party Representative (you must have valid Third Party Authorization forms on file with the Department of Energy)

## Input
Computer Room Air Conditioners | Computer Room Air Conditioners | [6 empty] | Version 5.3 |  | · Please enter your data in the columns shaded in gray below, using a separate line for each model. · Click on the column heading for instructions on how to complete cells in that column. · Cells highlighted in yellow indicate an "Error." "Error" means that information is missing or there is an issue with the entry. · If the "Status" for a row is "Error," you can see an explanation in the columns to the far right.
5.3
| Status of This Input Sheet |  | No Data |  | Overall Status of Template |  | No Data
| Certification Report |  |  |  | Click here for instructions for completing this form | [21 empty] | The cells below provide an explanation for "Errors". |  |  |  |  | The cells below provide an explanation for "Errors". |  |  |  |  | The cells below provide an explanation for "Errors". |  |  |  | The cells below provide an explanation for "Errors". | [5 empty] | The cells below provide an explanation for "Errors". |  |  |  | The cells below provide an explanation for "Errors".
Line No. | Status | Manufacturer | Brand Name(s) | Basic Model Number | Individual Model Number Covered by Basic Model (Indoor Unit or Package Unit) | Individual Model Number Covered by Basic Model (Outdoor Unit), if Applicable | Action | Product Group Code | Sample Size (Number of Units Tested) | Is the Certification for this Basic Model Based on a Waiver of DOE's Test Procedure Requirements? | Date of Test Procedure Waiver, if Applicable | Is the Certification based upon any Exception Relief from an Applicable Standard by DOE's Office of Hearing and Appeals? | Date of Exception Relief, if Applicable | Is Certification Based on the use of an Alternative Efficiency Determination Method (AEDM)? | Name of AEDM (If Applicable) | Does the Manufacturer Elect the Witness Test Option for Verification Testing? (If Applicable) | Is This Basic Model Split System or Single-Package? | Net Sensible Coefficient of Performance (NSenCOP) | Net Sensible Cooling Capacity (Btu/hour) | Net Total Cooling Capacity (Btu/hour) | Rated Airflow (Standard cubic feet per minute (SCFM)) | Configuration (Downflow, Upflow Ducted, Upflow Non-Ducted, Horizontal Flow, Ceiling-Mounted Ducted, or Ceiling-Mounted Non-Ducted) | Fluid Economizer Present? (Yes/No) | Condenser Medium (Air, Water, or Glycol-Cooled) | Refrigerant Used to Determine the Represented Values | Supplemental Testing Instructions PDF Filename | Manufacturer Status | Status | Brand Name(s) Status | Basic Model Number Status | Individual Model Number Covered by Basic Model (Indoor Unit or Package Unit) Status | Individual Model Number Covered by Basic Model (Outdoor Unit), if Applicable Status | Action Status | Product Group Code Status |  | Sample Size (Number of Units Tested) Status | Is the Certification for this Basic Model Based on a Waiver of DOE's Test Procedure Requirements? Status | Date of Test Procedure Waiver, if Applicable Status | Is the Certification based upon any Exception Relief from an Applicable Standard by DOE's Office of Hearing and Appeals? Status | Date of Exception Relief, if Applicable Status | Is Certification Based on the use of an Alternative Efficiency Determination Method (AEDM)? Status |  | Name of AEDM (If Applicable) Status | Does the Manufacturer Elect the Witness Test Option for Verification Testing? (If Applicable) Status | Is This Basic Model Split System or Single-Package? Status | Net Sensible Coefficient of Performance (NSenCOP) Status | Net Sensible Cooling Capacity (Btu/hour) Status | Net Total Cooling Capacity (Btu/hour) Status | Rated Airflow (Standard cubic feet per minute (SCFM)) Status | Configuration (Downflow, Upflow Ducted, Upflow Non-Ducted, Horizontal Flow, Ceiling-Mounted Ducted, or Ceiling-Mounted Non-Ducted) Status | Fluid Economizer Present? (Yes/No) Status | Condenser Medium (Air, Water, or Glycol-Cooled) Status | Refrigerant Used to Determine the Represented Values Status | Supplemental Testing Instructions PDF Filename Status
[35 empty] | Status | [6 empty] | Status | [12 empty] | The cells below will not be changeable or visible in the final version, but show the ability to modify template easily for additional product classes or for changes in required factors. |  | Equipment Type | Medium | Net Sensible Cooling Capacity Range | Configuration | Do not change this column's width. Entries below force row height to be at least 2 lines
1 | [54 empty] | Number of Columns | 28 |  |  |  |  | aaaaaa
2 | [54 empty] | Number of Product Classes | 120 |  |  |  |  | aaaaaa
3 | [60 empty] | aaaaaa
4 | [60 empty] | aaaaaa
5 | [60 empty] | aaaaaa
6 | [60 empty] | aaaaaa
7 | [60 empty] | aaaaaa
8 | [60 empty] | aaaaaa
9 | [60 empty] | aaaaaa
10 | [60 empty] | aaaaaa
11 | [60 empty] | aaaaaa
12 | [60 empty] | aaaaaa
13 | [60 empty] | aaaaaa
14 | [60 empty] | aaaaaa
15 | [60 empty] | aaaaaa
16 | [60 empty] | aaaaaa
17 | [60 empty] | aaaaaa
18 | [60 empty] | aaaaaa
19 | [60 empty] | aaaaaa
20 | [60 empty] | aaaaaa
21 | [60 empty] | aaaaaa
22 | [60 empty] | aaaaaa
23 | [60 empty] | aaaaaa
24 | [60 empty] | aaaaaa
25 | [60 empty] | aaaaaa
26 | [60 empty] | aaaaaa
27 | [60 empty] | aaaaaa
28 | [60 empty] | aaaaaa
29 | [60 empty] | aaaaaa
30 | [60 empty] | aaaaaa
31 | [60 empty] | aaaaaa
32 | [60 empty] | aaaaaa
33 | [60 empty] | aaaaaa
34 | [60 empty] | aaaaaa
35 | [60 empty] | aaaaaa
36 | [60 empty] | aaaaaa
37 | [60 empty] | aaaaaa
38 | [60 empty] | aaaaaa
39 | [60 empty] | aaaaaa
40 | [60 empty] | aaaaaa
41 | [60 empty] | aaaaaa
42 | [60 empty] | aaaaaa
43 | [60 empty] | aaaaaa
44 | [60 empty] | aaaaaa
45 | [60 empty] | aaaaaa
46 | [60 empty] | aaaaaa
47 | [60 empty] | aaaaaa
48 | [60 empty] | aaaaaa
49 | [60 empty] | aaaaaa
50 | [60 empty] | aaaaaa
51 | [60 empty] | aaaaaa
52 | [60 empty] | aaaaaa
53 | [60 empty] | aaaaaa
54 | [60 empty] | aaaaaa
55 | [60 empty] | aaaaaa
56 | [60 empty] | aaaaaa
57 | [60 empty] | aaaaaa
58 | [60 empty] | aaaaaa
59 | [60 empty] | aaaaaa
60 | [60 empty] | aaaaaa
61 | [60 empty] | aaaaaa
62 | [60 empty] | aaaaaa
63 | [60 empty] | aaaaaa
64 | [60 empty] | aaaaaa
65 | [60 empty] | aaaaaa
66 | [60 empty] | aaaaaa
67 | [60 empty] | aaaaaa
68 | [60 empty] | aaaaaa
69 | [60 empty] | aaaaaa
70 | [60 empty] | aaaaaa
71 | [60 empty] | aaaaaa
72 | [60 empty] | aaaaaa
73 | [60 empty] | aaaaaa
74 | [60 empty] | aaaaaa
75 | [60 empty] | aaaaaa
76 | [60 empty] | aaaaaa
77 | [60 empty] | aaaaaa
78 | [60 empty] | aaaaaa
79 | [60 empty] | aaaaaa
80 | [60 empty] | aaaaaa
81 | [60 empty] | aaaaaa
82 | [60 empty] | aaaaaa
83 | [60 empty] | aaaaaa
84 | [60 empty] | aaaaaa
85 | [60 empty] | aaaaaa
86 | [60 empty] | aaaaaa
87 | [60 empty] | aaaaaa
88 | [60 empty] | aaaaaa
89 | [60 empty] | aaaaaa
90 | [60 empty] | aaaaaa
91 | [60 empty] | aaaaaa
92 | [60 empty] | aaaaaa
93 | [60 empty] | aaaaaa
94 | [60 empty] | aaaaaa
95 | [60 empty] | aaaaaa
96 | [60 empty] | aaaaaa
97 | [60 empty] | aaaaaa
98 | [60 empty] | aaaaaa
99 | [60 empty] | aaaaaa
100 | [60 empty] | aaaaaa

## Product Group Codes
The following is a description of each product group code:
Product Group Code | Equipment Type | Medium | Net Sensible Cooling Capacity Range | Configuration
1 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <80,000 Btu/h | Downflow
2 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
3 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
4 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <80,000 Btu/h | Upflow Ducted
5 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
6 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
7 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <65,000 Btu/h | Upflow Non-Ducted
8 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
9 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
10 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <65,000 Btu/h | Horizontal Flow
11 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
12 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
13 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <80,000 Btu/h | Downflow
14 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
15 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
16 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <80,000 Btu/h | Upflow Ducted
17 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
18 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
19 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <65,000 Btu/h | Upflow Non-Ducted
20 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
21 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
22 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <65,000 Btu/h | Horizontal Flow
23 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
24 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
25 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <80,000 Btu/h | Downflow
26 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
27 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
28 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <80,000 Btu/h | Upflow Ducted
29 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
30 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
31 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <65,000 Btu/h | Upflow Non-Ducted
32 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
33 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
34 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <65,000 Btu/h | Horizontal Flow
35 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
36 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
37 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <80,000 Btu/h | Downflow
38 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
39 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
40 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <80,000 Btu/h | Upflow Ducted
41 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
42 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
43 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <65,000 Btu/h | Upflow Non-Ducted
44 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
45 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
46 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <65,000 Btu/h | Horizontal Flow
47 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
48 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
49 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <80,000 Btu/h | Downflow
50 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
51 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
52 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <80,000 Btu/h | Upflow Ducted
53 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
54 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
55 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <65,000 Btu/h | Upflow Non-Ducted
56 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
57 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
58 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <65,000 Btu/h | Horizontal Flow
59 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
60 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
61 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <80,000 Btu/h | Downflow
62 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
63 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
64 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <80,000 Btu/h | Upflow Ducted
65 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
66 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
67 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <65,000 Btu/h | Upflow Non-Ducted
68 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
69 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
70 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <65,000 Btu/h | Horizontal Flow
71 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
72 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
73 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | <29,000 Btu/h | Ceiling-Mounted Ducted
74 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
75 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥65,000 Btu/h | Ceiling-Mounted Ducted
76 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
77 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
78 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted
79 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | <29,000 Btu/h | Ceiling-Mounted Ducted
80 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
81 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥65,000 Btu/h | Ceiling-Mounted Ducted
82 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
83 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
84 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted
85 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | <29,000 Btu/h | Ceiling-Mounted Ducted
86 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
87 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥65,000 Btu/h | Ceiling-Mounted Ducted
88 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
89 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
90 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted
91 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | <29,000 Btu/h | Ceiling-Mounted Ducted
92 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
93 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥65,000 Btu/h | Ceiling-Mounted Ducted
94 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
95 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
96 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted
97 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | <29,000 Btu/h | Ceiling-Mounted Ducted
98 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
99 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h | Ceiling-Mounted Ducted
100 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
101 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
102 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted
103 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <29,000 Btu/h | Ceiling-Mounted Ducted
104 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
105 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h | Ceiling-Mounted Ducted
106 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
107 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
108 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted
109 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | <29,000 Btu/h | Ceiling-Mounted Ducted
110 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
111 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h | Ceiling-Mounted Ducted
112 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
113 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
114 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted
115 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <29,000 Btu/h | Ceiling-Mounted Ducted
116 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Ducted
117 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h | Ceiling-Mounted Ducted
118 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <29,000 Btu/h | Ceiling-Mounted Non-Ducted
119 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ceiling-Mounted Non-Ducted
120 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h | Ceiling-Mounted Non-Ducted